SPEC DATA SHEET # VIBRATION DAMING SHEETS

4700 Clairton Blvd., Pittsburgh, PA 15236

Tel: (412) 884-3000

www.oeler.com

•

•

Fax: (412) 884-3300

sales@oeler.com

Intelligent Acoustic Solutions

SOUNDAMP

VIBRATION DAMING SHEETS

Oelex

Soundamp

V

a used

by

Oeler

Industries,	Inc.	is

bitumen-based,

self-adhesive

sheet

for

sound

and

vibration damping on metal panels. The adhesive

side is smooth, giving complete contact with the

underlying

channels.

surface

without

air

pockets

or

Oelex Soundamp V

and impregnated to

is odorless,

prevent the

wear-resistant

absorption	of adhesive can

water.	Both	pad	material	and

withstand

+1200C

temperatures

between

-300C

are

and

highly

(-220F

to

+2480F)

and

resistant to aging.

FEATURES:

•

•

•

Meets FMVSS 302 and UL94 HBF

Resistant to water and mineral oils Improves fatigue life and safety

factor of treated surfaces

- High acoustic loss factor

- Non-hazardous & non-toxic

Intelligent Acoustic Solutions

SPEC DATA SHEET # VIBRATION DAMING SHEETS

APPLICATIONS:

Typically, applications include metal

partitions, ducts, transportation industry, and office machines as well as numerous architectural applications. Soundamp V is easily handled, and may be cut with scissors, utility knife, or die. Soundamp V should be cut into the desire shape before the backing paper is removed. The temperature of the pad and application surface should not be below room temperature during fitting.

TYPICAL PROPERTIES:

Thickness: 1.95MM (0.080”)

Weight: 1.6 kg/m2 (0.33 lbs/sq.ft.)

Chemical Resistance: Resistant to water and mineral oils Thermal Conductivity: (Y) -0.11 W/m K(0.76 BTU -in/ft2h x 0F Storage Life: 6 months max.

Storage Instructions: The material must be stored horizontally in its wrapping. Fire Classification: Meets FMVSS 302 and is approved to UL94 HBF Temperature Range: -220F to 2480F

Thermal Conductivity: 0.76 BTU/ in/ ft2/ Hr./ 0F

ACOUSTICAL PERFORMANCE:

Sound Absorption Performance:

OCTAVE BAND FREQUENCIES (HZ)

ASTM C 423

4700 Clairton Blvd., Pittsburgh, PA 15236

Tel: (412) 884-3000 • Fax: (412) 884.3300

www.oeler.com

•

sales@oeler.com

Intelligent Acoustic Solutions

Product	125	250	500	1K	2K	4K	NRC

QFA-EXT-D-2”	0.19	0.99	0.96	0.80	0.57	0.33	0.85