CSI MasterFormat

Division 27.51.00		Distributed Audio-Video Communications Systems

27.51.13			Paging Systems

27.51.19			Sound Masking Systems

NOTE TO SPECIFIER

Lencore Spectra i.Net® - Networked Sound Masking, Paging, and Music System

Manufactured by Lencore Acoustics Corp.

1 Crossways Park Drive West

Woodbury, NY 11797  USA

Ph: 516 682 9292

Email: info@lencore.com

Website: www.lencore.com

PART 1 - GENERAL

1.1 	RELATED DOCUMENTS

- The General Conditions and Requirements, Special Provisions of any larger body of specifications, of which this specification may be a part, are hereby made a part of this specification.

1.2 	SUMMARY

- This specification includes all components required for a networked based Paging and/or Sound Masking System including but not limited to digital signal processors, noise generators, paging interfaces, amplifiers, loudspeakers, the associated wiring and controls and components to generate, amplify, distribute and reproduce voice pages and stabilized background sound masking.

1.3 	DEFINITIONS AND REFERENCES

- UL6500 – Standard for Audio/Video and Musical Instrument Apparatus for Household, Commercial and Similar General Use

- UL 2043 – Standard for Fire Test for Heat and Visible Smoke Release for Discrete Products and Their Accessories Installed in Air-Handling Spaces; 1996

- ASTM E 1374-02 – Standard Guide for Open Office Acoustics and Applicable ASTM Standards

- ASTM E 1573-02 – Standard Test Method for Evaluating Masking Sound in Open Office Using A-Weighted and One-Third Octave Band Sound Pressure Levels

- ASTM E 1130-02e1 – Standard Test Method for Objective Measurement of Speech Privacy in Open Offices Using Articulation Index

- FCC – EN 55103-1&2 – Audio, Video and Entertainment Lighting Control

1.4	APPLICABLE STANDARDS

- ANSI S1.4 American National Standard Specification for Sound Level Meters

- ANSI S1.6 American National Standard Specification for Preferred Frequencies and Band Numbers for Acoustical Measurements

- ANSI S1.11 American National Standard Specification for Octave-Band and Fractional-Octave-Band Analog and Digital Filters

- ASTM E 1130-02 Standard Test Method for Objective Measurement of Speech Privacy in Open Offices Using Articulation Index.

- ASTM E1573-02 Standard Test Method for Evaluating Masking Sound in Open Offices Using A-Weighted and One-Third Octave Band Sound Pressure Levels.

- ASTM E 1374-93 Standard Guide for Open Office Acoustics and Applicable ASTM Standards.

- ASTM E1041-85 – Standard Guide for Measurement of Masking Sound in Open Offices.

1.5. 	PERFORMANCE REQUIREMENTS

- The Sound Masking / Paging system must use one control unit for the entire system.  Multiple control units are NOT acceptable.

- The Sound Masking / Paging system must contain an integrated sound masking and paging digital signal processors (DSP’s) system that utilizes an open platform network technology with web appliances, browser interfaces, infrared remote controls and internet access capable.

- The Sound Masking / Paging system must be capable of separately and independently configuring zones for sound masking, paging and music via the network zoned through its singular central control.

- The Sound Masking system must produce a masking noise from 20Hz through 20,000Hz at its source.

- The Sound Masking must be random and provide a minimum pattern of no LESS than 24 hours.

- The Sound Masking system must provide both a 1/3 octave band equalizer for a minimum of 30 bands and a parametric equalizer to adjust the sound masking.

- The Sound Masking / Paging system must provide global muting function through dry contact closure for fire alarms.

- The Sound Masking / Paging system must provide automatic Adaptive Equalization to ensure a flat response for the entire building for paging.

- The Sound Masking / Paging system must provide zone overlap where each speaker channel has a minimum of 10 programmable zones for masking, paging and music separately.

- The Sound Masking / Paging system must meet ANSI 709.1 / ISO / IEC standards for open platform.

- The Sound Masking / Paging system must meet the US Army Corp.’s Unified Facilities Guide Specifications, UFGS 25 10 10, “Utilities Monitoring and Control System” and UFGS 23 09 23, “Direct Digital Control for HVAC and Other Local Building Controls”.

- The Sound Masking / Paging equipment must have individual LCD identifiers.

- Plenum mounted network locations must have a lighted LED for visual inspection.

- The Sound Masking / Paging system must be a multi-drop network system.  Point to point systems are unacceptable.

- The Sound Masking / Paging system must be capable of being tuned through a network and a hand-held remote.

- The Sound Masking / Paging system must be capable of performing diagnostic functions.

- The Sound Masking / Paging system must be capable of reporting entire settings for each zone for masking, paging and music indicating at a minimum the volume, contour, 1/3rd band octave equalization, parametric equalization, diagnostics, and groupings.

- The Sound Masking / Paging system must be an open platform system.  Proprietary software systems are unacceptable.

- The Sound Masking / Paging system must be capable of performing a complete diagnostics of its entire functions including diagnostics of the network, hubs, nodes, routers, dsp’s, memory, circuitry, amplifiers and power

- The Sound Masking / Paging system must be capable of using diagnostics and remote administration via a standard web browser.

- The Sound Masking / Paging must be able to use upward facing and downward facing speaker and horn speakers.

- The Sound Masking/ Paging must only use speakers with diameters larger than 4” but not to exceed 6-1/2”

1.6	DESCRIPTION OF SYSTEM

- All masking/paging units must be UL Listed for use in a ceiling plenum.

- The system must be manufactured in the USA.

- All equipment and associated hardware shall be fabricated and installed in accordance with the manufacturer's specified recommendations.

- All wiring for power shall be minimum 16 gauge.

- All Wiring for Audio & Data shall be CAT 5, CAT 5e or CAT 6, 4 pair, with RJ45 connectors.

- Location of grounding points shall be determined carefully to insure minimizing of system hum and elimination of ground loops. In addition, all connections of shields and conductors to equipment shall be in accordance with manufacturer's instructions and best professional practices.

- In open areas and larger enclosed spaces, the overall sound level produced should have spacial uniformity of no more than ±½ dB between any two sound generating units.

- The sound generating units must have an adjustable sound spectrum shaping control in order to meet the varying spectral requirements of drywall ceilings; various types of ceiling tile, air return grills and openings around lighting fixtures, etc.  The following is required:

- The spectrum shaping ability shall be variable within the accepted background sound masking range (acoustical preferred curve).

- Noise masking outputs are able to be shaped with a 1/3 band octave equalizer.

- Noise masking outputs are able to shaped with a minimum 30 band parametric equalizer

- Equalizers will be able to manipulate the entire audio spectrum from 25Hz to 20KHz

- System must be capable of providing sound masking volume increments in ½ dB steps.

- The system shall be capable of producing the sound spectrum and levels as specified in section 3.7 of these same specifications.

- Spatial Uniformity (Directional Effect :) People in masked space under normal operating conditions cannot determine source of masking sound.

- Temporal Uniformity:  One minute time-averaged sound pressure level of any octave band of masking sound from 250 to 8000 Hz remains constant in any space to within a standard deviation of 2 dB when measured over a 30-minute period.

- Sound Quality:  No audible hum or noise, other than masking noise, from this system in masked spaces should be detected.

1.7	SUBMITTALS

- Product Data:  Manufacturer’s specifications and installation instructions.

- Submit manufacturer's data or shop drawings of the following apparatus, giving full information as to dimensions, materials, and all information pertinent to adequacy of submitted equipment:

    - Masking Sound Speakers

    - Additional necessary masking equipment needed

    - Wire

    - Power supply

    - Paging/Music Equipment

    - Paging Only Speakers

    - Programmable Timers

    - All Head-End Equipment

    - Network Equipment

- Shop Drawings: Prepare and submit detailed dimensioned shop drawings for conduit runs (if required) and other distribution services including elevations showing minimum clearances and installed features and devices for system components.  Show types and locations of masking speakers and their wiring connections. Channel assignments, and axis orientations.  Show ducts, beams. And other significant sound reflecting and absorbing elements in ceiling space and show locations of partitions below ceiling.  Include a diagram showing interconnection of major system components for each zone and channel and indicating grounding connections.

- Each shop drawing shall contain job title and reference(s) to the applicable drawing(s) and/or specification article(s).

- Product Certificates: Signed by manufacturers of sound masking equipment and components certifying that products furnished comply with requirements.

- Record of Final Field Tests and Measurements:  Include final adjustment of system.

- Maintenance Data: For sound masking equipment and components (if needed) to include in maintenance manuals specified in Division 1.  Include data for each type of product, including all features and operating sequences. Both automatic and manual.

- System Design:  Schematics of the system showing quantity and location of system components and related cabling and accessories.

- Equipment operation and service maintenance manuals shall be provided for the equipment employed in the systems. This shall include wiring diagrams. The information in the manuals and on the drawings shall be sufficiently detailed to allow a technician of normal competence to understand, install, operate, maintain, calibrate and repair the equipment.

- Warranty Documents:  Warranty documents covering the system components.

1.8	QUALITY ASSURANCE

- Manufacturer Qualifications: Minimum of 10 years manufacturing sound masking systems.

- System Design – Performed by an approved manufacturer representative.

- Installer Qualifications – Approved by manufacturer representative and are trained with the specified products or have demonstrated experience with the installation of similar products to those specified.

- System Adjustment – Done by an approved manufacturer representative or trained contractor

- Single Source Responsibility – Source master units, central volume control master units, satellite units, remote controls, and timers from a single manufacturer

- System shall be designed so that individual speaker or component failure will have no impact on the balance of the system

- Security: Central controller must only be accessed via an authorized computer access point.  Central controller must be password protected.

1.9 Diagnostics

- System must be capable of performing a complete diagnostics of its entire functions including diagnostics of the network, hubs, nodes, routers, dsp’s, memory, circuitry, amplifiers and power.

1.10 Reporting Features

- System must be capable of reporting entire settings for each zone for masking, paging and music indicating at a minimum the volume, contour, 1/3rd band octave equalization, parametric equalization, diagnostics, and groupings.

- System Must be Capable of Reporting, via email, in real time, any compromised digital network connection.

1.11	CODES AND PERMITS

- Install all work in full accordance with the requirements of all local and governmental departments having jurisdiction over these matters, as well as with any requirements of the NFPA, MEA, BSA, UL, and other applicable Codes.

- Secure and pay for necessary approvals, permits, inspections, carting, legal dumping, etc., and deliver the official records of the granting of permits to the Owner without additional cost.

- Provide signs as required by the municipal authorities.

1.12	DELIVERY, STORAGE, AND HANDLING

- Protect from moisture during shipping, storage and handling.

- Deliver in manufacturer's original unopened and undamaged packages with manufacturer's labels intact.

- Inspect manufacturer's packages upon receipt.

- Handle packages carefully.

- Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

  - WARRANTY

- At project closeout, provide to Owner or Owners Representative an executed copy of the manufacturer's standard limited warranty against manufacturing defect, outlining its terms, conditions, and exclusions from coverage.

- The Sound Masking / Paging system shall be warranted to be free from defects in materials, workmanship, and performance for a 10-year from date of installation.

PART 2 - PRODUCTS

2.1 	MANUFACTURERS

- Manufacturers:  Subject to compliance with requirements. Provide products by the following:

  - Lencore Acoustics Corp.

1 Crossways Park Drive W

Woodbury, NY  11797

PH: 516-682-9292

FX: 516-682-4785

Website: www.lencore.com

Email: drawings@lencore.com

2.2 	SYSTEM COMPONENTS

- The enclosure for the sound masking speakers shall consist of aluminum or electroplated steel, cylindrical housing.

- Speakers:  5 ¼ inch units mounted on metal baffles and arranged for optimum, multi-directional, angular sound distribution.  Arrange units for suspension from the building structure above the ceiling.

- The system must be capable of being independently zoned on both a global and local level for sound masking, paging and music.  All zoning must be controlled from a network appliance.

- CONTROL UNIT

- System control unit must be LON or BACNET capable

- System control unit must have digital input/output relays

- System control unit must have TCP IP and RS 232 serial port

- Control unit must be able to control entire building without any additional controllers

- System control unit must be able to be browsed using off the shelf software

- System control unit must be capable of providing email reports

- System control unit must be capable of programming alarms, alarm triggers

- System control unit must be capable of creating data logs.

- LOUDSPEAKER

- Size:   5 ¼ inch wide dispersion

- Power Rating:  10 Watts Root Mean Squared (RMS)

- Frequency Response: 50-12,000 Hz

- Pressure Sensitivity:  SPL - at 1 Watt/m - 90 dB

- Impedance:   32 Ohms

- Magnet Weight:  10 oz. (283.5 grams)

- NOISE GENERATOR:  Octave bands from 20Hz to 20KHz

- Voltage:  48 Volts DC, 60 Hz

- Contour Adjustments

- Spectrum adjustment shall meet acoustical preferred curve

- OUTPUT ADJUSTMENTS

- 1/3 band EQ for entire spectrum (25Hz – 20KHz).  Meets ANSI specification for bands

- Parametric EQ for entire spectrum (20Hz – 20KHz)

- Central volume control, contour control and EQ control for zones for sound masking.

- Central volume control, and EQ control for zones and units for paging and music.

- WIRE:

- The power wiring shall be minimum 16 gauge, stranded, non-shielded, UL Listed, Plenum Rated

- The data wiring shall be CAT 5, CAT 5e, or CAT 6, 4 pair, with an RJ45 jack.

- The audio wiring shall be CAT 5, CAT 5e, or CAT 6, 4 pair, with an RJ45 jack.

- All Wire to be plenum and properly rated.

- POWER SUPPLY:

Output:

- DC VOLTAGE: 48v

- RATED CURRENT: 3.2A

- CURRENT RANGE: 0~3.2A

- RATED POWER: 150/320/500 W

- OUTPUT VOLTAGE ADJ. RANGE: 45.6~52.8V

- LINE REGULATION: ±0.5%

- LOAD REGULATION: ±0.5%

- SETUP, RISE TIME: 600ms, 30ms at full load

- HOLD UP TIME (Typ.): 20ms at full load

Input:

- VOLTAGE RANGE: 85~264VAC     120~370VDC

- FREQUENCY RANGE: 47~63Hz

- POWER FACTOR (Typ.): PF>0.93/230VAC      PF>0.98/115VAC at full load

- AC CURRENT (Typ.): 2.5A/115VAC        1.2A/230VAC

- INRUSH CURRENT (Typ.): Cold Start 40A/230VAC

Safety: & EMC

- SAFETY STANDARDS: UL60950-1, TUV EN60950-1 and S-Mark J60950 Approved

- HARMONIC CURRENT: Compliance to EN61000-3-2,-3

- EMS IMMUNITY: Compliance to EN61000-4-2,3,4,5,6,8,11; ENV50204, EN55024

Environment:

- WORKING HUMIDITY: 20 ~ 90% RH non-condensing

- WORKING TEMP: -10 ~ +60 (Refer to output load derating curve)

- STORAGE TEMP., HUMIDITY:  -20 ~ +85 , 10 ~ 95% RH

- TEMP. COEFFICIENT: 0.05%/ (0 ~ 50°C)

- VIBRATION: 10 ~ 500Hz, 2G 10min./1cycle, 60min. each along X, Y, Z axes

Others:

- MTBF: 191.2K hrs min.      MIL-HDBK-217F (25°C)

- DIMENSION: 7 27/32” x 3 29/32” x 1 15/16”

Protection:

- OVERLOAD: 105 ~ 150% rated output power

- Protection type : Constant current limiting, recovers automatically after fault condition is removed

- OVER VOLTAGE: 52.8 ~ 64.8V

- OVER TEMPERATURE: 95°C±5°C (TSW1: Detect on Heat sink of Power Transistor)

- Protection type : Shut down o/p voltage, recovers automatically after temperature goes down

- J. REMOTE CENTRAL VOLUME CONTROL:

- Generation and integration of multiple random sound masking sources. Channel outputs with three levels of global and independent control.

  - Contour control – At the source using infra-red technology for each independent channel, quad-pod and global control or via a centralized control.

  - Parametric equalization control for one to minimum of 6,400 speakers.

  - 1/3rd Band Octave controls – (Same as Parametric controls for groups)

  - Volume control for entire spaces to channels to individual speakers.

- Integration of separate paging and music channels

  - Each channel can be digitally controlled for zone management and changed on the fly without any change in wiring.  No need to go back into the ceiling to change settings.

- PROGRAMABLE AUDIO LEVEL CONTROL:

- Standard applications include scheduling, data logging, alarm detection & dispatch, meter reading, analog functions, and type translation.  The scheduling application permits events and exceptions to be initiated based on time and date schedules configured by the user. An astronomical position calculator permits scheduling to be done based on the calculated position of the sun. The data logging application collects network activity for use by trending, reporting, and analysis applications. New DIME support enables data log upload to a Web services application to occur through a firewall. The alarming application provides a means to identify, annunciate, and log alarm conditions. The meter reading application supervises impulse meters and provides suitable conversion values for energy, gas, and water metering.  Automatic Sound Power Level Changes:  Two system channel changes, four times per day, and capable of different time settings for each day of the week:

      - Programmable attenuation range: -24 to +24 dB (48 dB)

      - Slide control attenuation range: -24 to +24 dB

      - Minutes per dB change: User programmable

      - Acclimation attenuation range: -24 to +24 dB

      - Acclimate days per dB change: 1 to 5 days

      - Programmable events: 24 events per day for each zone

  - Program Memory:  Nonvolatile for one year, minimum, without power.  When re-energized after a power outage, control starts at zero level and automatically advances system sound level at same rate used for programmed level changes.

- PAGING / MUSIC INTERFACE:

The Music Page Interface shall perform to the following requirements:

  - The music page interface should replace all bulky head end equipment. There should be no need for additional cable home-runs, amplifiers, separate equalizers, special switching equipment or matching vendors for compatible product interfaces.

  - The music page interface must be able to make zone additions, modifications, deletions and other changes to the paging and music/EBS system without rewiring.

  - The music page interface must be able to provide a minimum ability to program up to 100 zones for paging using DTMF tones through standard POTS telephone line. MPI must be able to be programmed for all call and emergency broadcast paging with priority.

  - Each zone and group must have a dedicated one band octave equalizer that is able to adjust either individual zones or groups.

  - The music page interface must be able to from one point manage up to 1.5 million square feet of space through a single interface.

  - Volume and equalizer settings for paging and music must be administered in no more than ½ dB steps

  - The music page interface must automatically compensate and readjust for frequency line loss, broadcast and correct throughout the entire system at each node.

  - Shall include Telephone, (2) Audio and Aux inputs with priority call.

  - Momentary push button sequencer to sequentially initialize attached nodes.

  - Play Relay

  - Must have a line level variable input controller for audio inputs.

  - Must have a digital LED display showing line level input for High, Medium and Low

PART 3 - EXECUTION

3.1.	SYSTEM DESIGN

- Design system according to manufacturer’s specifications.

3.2.	EXAMINATION

- Ensure that facility build out is at a stage suitable for the system installation.

- Ensure that facility is constructed according to plans including wall locations, ceiling types and plenum barriers.

- Ensure that the plenum height is appropriate as per manufacturer’s recommendations and as per plan.

- Ensure power requirements have been provided as per plan.

- Ensure sufficient space for centrally located components is available as per plan and manufacturer’s specifications.

- Ensure any third-party components required to be interfaced with the system have been provided.

- Play Masking and Audio for a minimum of one hour prior to commissioning to ensure that all amplifiers in the system are working properly.

3.3.	PERMITS

- Obtain necessary permits for installation work.

3.4.	INSTALLATION

- Follow all applicable codes for the installation.

- Follow manufacturer’s recommendations regarding installation as found in the manufacturers Sound Masking / Paging system installation manual.

- Follow the approved system design for location of loudspeakers and wiring.

- Record any necessary changes to the system design on the plan.

- Ensure that supplementary materials used meet applicable safety standards.

- Mountings and Loudspeakers shall be concealed above the acoustical ceiling. The loudspeakers shall be suspended from the slab above by chain. Where possible, the bottom, of each speaker shall be located a minimum of 6" to 8” (150 to 200mm) above the acoustical ceiling tile. It is most important that all units hang at a uniform height throughout to insure a uniformity of sound when the system is turned on.

- Wiring Method:  Install wiring in accordance with all local electrical codes.  Conceal cable in accessible ceilings, walls and floors where possible.

- Pulling Cable:  Do not exceed manufacturers’ recommended pulling tensions.  Do not install bruised, kinked, scored, deformed, or abraded cable.  Do not splice cable between normal termination points.  Remove and discard cable where damaged during installation and replace it with new cable.

- Exposed Cable:  Install parallel to building lines, follow surface contours, and support as recommended by manufacturer.

- Grounding:  As recommended by manufacturers, unless more stringent requirements are indicated.  Ground equipment and conductors to eliminate shock hazard and to minimize ground loops. Common mode returns, noise pickup, cross talk and other impairments.

- Impedance Matching:  For systems components including connecting cable, provide end-to-end level and impedance matched signal paths.  Use matching networks and balancing devices at connections where necessary to avoid mismatches.

- Splices, taps and terminations:  Make splices, taps and terminations on numbered terminal strips in junction, pull and outlet boxes; and equipment closures.

- The speaker locations shown on the drawings are schematic only and may require field modification to avoid major ductwork, structures and other plenum barriers. Additional speakers may be required to provide uniform sound distribution because of these plenum obstructions.

- Identification: Identify system components, wiring, cabling, and terminals according to Division 16 Section “Electrical Identification” Use color coded conductors and apply wire and cable marking tape to designate wires and cables so media are identified in coordination with system wiring diagrams.

- Identify system components, wiring, cabling, and terminals according to Division 16 Section “Basic Electrical Materials and Methods”.  Use color coded conductors and apply wire and cable marking tape to designate wires and cables so media are identified in coordination with system wiring diagrams.

3.5.	FIELD QUALITY CONTROL

- Ensure that plenum heights meet the minimum recommended by the manufacturer for the loudspeakers.

- Ensure that distance between the top of the loudspeaker and the deck meets manufacturer’s minimum specifications.

- Ensure that loudspeakers are suspended in a level manner.

- Ensure that loudspeakers are not obstructed as much as possible.

- Ensure cables are properly supported in the ceiling.

- Ensure cables are securely terminated

3.6.	CLEANING

- Ensure that empty packaging and any material waste is removed from the site.

- Ensure the product is clean and presentable.

3.7.	TESTING AND REPORTING

- At the completion of installation initial tests and adjustment are to be performed in accordance with specified spacing and orientation, tests be conducted in an open area of 35 ft. x 35 ft. minimum size. Tests shall indicate that all acoustical performance requirements described herein are satisfied.

- Verify that masking and paging zoning levels are appropriate and as per plan.

- All testing and adjusting of the system shall be accomplished in the absence of the eventual occupants whenever possible. These precautions are essential to insure that the attention of the occupants will not be unnecessarily drawn to the noise or to its source. Test area for consistency of masking volume and quality.

Tests and adjustments shall include the testing of:

  - Hum and Noise Level

  - Loudspeaker Operation

  - Freedom from Buzzes, Rattles and Objectionable Distortion

  - Gain Control Settings

- The manufacturers’ agent with the support and cooperation of any Subcontractor installer shall perform the acceptance testing of the completed installation. These tests shall be performed to demonstrate that the equipment is fully furnished and installed in compliance with the terms of the Specifications in all Contract Documents. Except as otherwise specified, the Manufacturer or Subcontractor shall provide all instruments, equipment, labor and materials necessary to complete these tests.

- Manufacturers Field Service:  Engage a factory authorized service representative to inspect field assembled components and equipment installation and connections.  Report results in writing.  Include the following.

- Operational Test:  Start system to confirm proper operation.  Remove malfunctioning units, replace with new units and retest.  Make initial sound spectrum and level adjustments for each zone.

- Test and adjust controls and safeties.  Replace damaged and malfunctioning controls and equipment.

- Inspection:  Verify that units and controls are properly labeled and interconnecting wires and terminals are identified.

- Sound Masking Power Level Adjustments:  Adjust independently for each space to minimum level of 47dBA, unless otherwise noted on the plan, to ensure speech privacy between adjacent workstations while complying with other system requirements.

- The Subcontractor shall project the completion date of tests and adjustments so that he can give a minimum of one week's notice to the active Project Manager.

- Measurements of system performance shall be made using a calibrated ANSI precision sound level meter set for "slow" meter damping and ‘A’ scale filtering. The measurements shall be made at not less than twenty test positions at 4' height above the floor level, with gain adjusted to provide the system design level. All interior finishes and furnishings shall be in place. Tests shall be for each floor at times not occupied by personnel.

- Final Acceptance Testing:

- Instrumentation:  Use a professional quality sound level meter in accordance with ANSI S1.4

- Record test observations, readings and corrective actions.

- System Tests: Include the following for each zone:

- Relative Sound Pressure Level

| Band | Open Plan Areas | Enclosed Offices |
| --- | --- | --- |
| 200 | +2.5 | -2 |
| 250 | +3 | -2 |
| 315 | +2 | -2.5 |
| 400 | +1 | -3 |
| 500 | 0 | -4 |
| 630 | -1 | -5 |
| 800 | -2 | -6 |
| 1000 | -3 | -7 |
| 1250 | -4 | -8.5 |
| 1600 | -5 | -10 |
| 2000 | -6 | -12 |

- Adjust level of masking sound for each space so one third octave band centered at 500 Hz has final selected sound power level for that space.  Measure deviation from listed values in one-third octave bands from 400 to 2000Hz.  Measured values must not deviate from those listed by more than 4 dB for open plan areas and 8dB for enclosed offices.  The total of individual band deviations in eight bands must not exceed 16 dB for open plan areas and 30 dB for enclosed offices.

- Walk Through Test:  People in masked spaces cannot discern speaker locations.

- Temporal Stability Test:  Check for uniformity of time by measuring sound level in each of 11 octave bands at one-minute intervals over a 30-minute test period.  Deviations must not exceed limits specified.

- Retest:  Correct deficiencies identified by tests and observations and retest until meeting specified requirements.

- Recording Control Settings and System Adjustments:  Record final control settings and programming and final tap setting of speaker matching transformers.  Record final sound level measurements and observations.

- A written report representing the results of the above tests, including numerical values where applicable, shall be submitted for review.

3.8.	DEMONSTRATION AND TRAINING

- Demonstrate operational system to customer by walking the space.

- Demonstrate functionality of the system to the customer or customer’s representative.

- Provide training to customer employee to maintain system as required.

- Occupancy Adjustments:  When requested within 12 months of date of substantial completion manufacturer is to provide on site assistance in adjusting system to suit actual occupied conditions.  Provide one visit to site outside normal occupancy hours for this purpose without additional cost to the owner.

End of Section 21 51 13 and 21 51 19